{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"biff_walk_short","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":545,"n_cols":9,"rows_kept":545,"read":"biff_walk_short","flags":["formulas_cached_only"]}
["零星装修修缮服务项目清单"]
["一 、木工类服务"]
["序号","工 程 名 称","型号/规格","单位","材料费","人工费（工时）","审核单价（元）","质保期","备注"]
[1,"开锁/撬锁(柜子锁等)",null,"项",{"$nulls":3},"-","国标"]
[2,"开锁/撬锁(大门锁等)",null,"项",{"$nulls":3},"-","国标"]
[3,"挂锁",null,"把",{"$nulls":4},"国标"]
[4,"顶子门锁、大挂锁",null,"把",{"$nulls":4},"国标"]
[5,"铝窗弹簧锁",null,"把",{"$nulls":4},"国标"]
[6,"抽屉锁",null,"把",{"$nulls":4},"国标"]
[7,"柜门锁",null,"把",{"$nulls":4},"国标"]
[8,"连杆锁",null,"把",{"$nulls":4},"国标"]
[9,"999门锁/单舌锁",null,"把",{"$nulls":4},"国标"]
[10,"弹珠(子)门锁",null,"把",{"$nulls":4},"国标"]
[11,"球形锁/球锁",null,"把",{"$nulls":4},"国标"]
[12,"钢丝锁",null,"把",{"$nulls":4},"国标"]
[13,"玻璃门夹锁",null,"把",{"$nulls":4},"国标"]
[14,"消防火锁",null,"把",{"$nulls":4},"国标"]
[15,"不锈钢执手门锁",null,"把",{"$nulls":4},"国标"]
[16,"不锈钢锁",null,"把",{"$nulls":4},"国标"]
[17,"双舌执手门锁",null,"把",{"$nulls":4},"国标"]
[18,"执手锁锁芯/胆",null,"个",{"$nulls":4},"国标"]
[19,"锁舌",null,"把",{"$nulls":4},"国标"]
[20,"锁排",null,"把",{"$nulls":4},"国标"]
[21,"不锈钢锁排",null,"把",{"$nulls":4},"国标"]
[23,"闭门器",null,"套",{"$nulls":4},"国标"]
[24,"地弹簧",null,"套",{"$nulls":4},"国标"]
[25,"门禁开关",null,"套",{"$nulls":4},"国标"]
[26,"无线门铃",null,"套",{"$nulls":4},"国标"]
[27,"门铃开关",null,"套",{"$nulls":4},"国标"]
[28,"加装木门防响胶片",null,"门",{"$nulls":4},"国标"]
[29,"塑钢门扣",null,"副",{"$nulls":4},"国标"]
[30,"4寸不锈钢合页",null,"副",{"$nulls":4},"国标"]
[31,"烟斗合页/门铰",null,"副",{"$nulls":4},"国标"]
[32,"厕所门门铰",null,"副",{"$nulls":4},"国标"]
[33,"柜门门铰",null,"副",{"$nulls":4},"国标"]
[34,"4寸弹簧门铰",null,"副",{"$nulls":4},"国标"]
[35,"6寸弹簧门铰",null,"副",{"$nulls":4},"国标"]
[36,"柜门磁吸",null,"副",{"$nulls":4},"国标"]
[37,"大门磁吸",null,"副",{"$nulls":4},"国标"]
[38,"厕所门插",null,"副",{"$nulls":4},"国标"]
[39,"窗插",null,"副",{"$nulls":4},"国标"]
[40,"弹子门插",null,"副",{"$nulls":4},"国标"]
[41,"不锈钢插销","5寸/7寸","副",{"$nulls":4},"国标"]
[42,"不锈钢插销","8寸/10寸","副",{"$nulls":4},"国标"]
[43,"厕所门拉手",null,"副",{"$nulls":4},"国标"]
[44,"不锈钢抽屉拉手",null,"副",{"$nulls":4},"国标"]
[45,"塑钢窗拉手",null,"副",{"$nulls":4},"国标"]
[46,"柜门滑轮",null,"个",{"$nulls":4},"国标"]
[47,"柜门导轨",null,"套",{"$nulls":4},"国标"]
[48,"三节滚珠导轨",null,"套",{"$nulls":4},"国标"]
[49,"抽屉导轨",null,"套",{"$nulls":4},"国标"]
[50,"键盘导轨",null,"套",{"$nulls":4},"国标"]
[51,"大班椅车轮",null,"个",{"$nulls":4},"国标"]
[52,"弹力胶万向轮","3寸","套",{"$nulls":4},"国标"]
[53,"弹力胶万向轮","4寸","套",{"$nulls":4},"国标"]
[54,"弹力胶万向带刹车轮","6寸","套",{"$nulls":4},"国标"]
[55,"定向/迈向转轮","5寸","套",{"$nulls":4},"国标"]
[56,"定向/迈向转轮","8寸","套",{"$nulls":4},"国标"]
[57,"加装多层木板","9mm","m²",{"$nulls":4},"国标"]
[58,"加装多层木板","12mm","m²",{"$nulls":4},"国标"]
[59,"加装多层木板","18mm","m²",{"$nulls":4},"国标"]
["二、给排水类服务"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"拨手水龙头",null,"套",{"$nulls":4},"国标"]
[2,"小弯水龙头",null,"套",{"$nulls":4},"国标"]
[3,"摇臂水龙头",null,"套",{"$nulls":4},"国标"]
[4,"冠头单水制水龙头",null,"套",{"$nulls":4},"国标"]
[5,"大弯冷热水龙头",null,"套",{"$nulls":4},"国标"]
[6,"冷热水龙头",null,"套",{"$nulls":4},"国标"]
[7,"冷热沐浴水龙头",null,"套",{"$nulls":4},"国标"]
[8,"延时水龙头",null,"套",{"$nulls":4},"国标"]
[9,"电加热水龙头",null,"套",{"$nulls":4},"国标"]
[10,"医疗红外线感应水龙头",null,"套",{"$nulls":4},"国标"]
[11,"医疗感应水龙头",null,"套",{"$nulls":4},"国标"]
[12,"更换感应水龙头的感应头",null,"个",{"$nulls":4},"国标"]
[13,"感应水龙头的安装人工",null,"项",{"$nulls":4},"科室提供水龙头"]
[14,"水箱",null,"套",{"$nulls":4},"国标"]
[15,"蹲厕","不含水箱","套",{"$nulls":4},"包拆装/清运/国标"]
[16,"座厕","不含水箱","套",{"$nulls":4},"包拆装/清运/国标"]
[17,"台式洗手盘","含角阀1个，下水器1个，水龙头1个，下水管1条","套",{"$nulls":4},"包拆装/清运/国标"]
[18,"柱式洗手盘",null,"套",{"$nulls":4},"包拆装/清运/国标"]
[19,"更换厕所板",null,"套",{"$nulls":4},"国标"]
[20,"多功能带软管花洒",null,"套",{"$nulls":4},"国标"]
[21,"花洒头",null,"个",{"$nulls":4},"国标"]
[22,"更换花洒座",null,"个",{"$nulls":4},"国标"]
[null,"冲水阀（脚踩式）",null,"个"]
[null,"冲水阀（手按式）",null,"个"]
[null,"小便池感应冲水阀",null,"个"]
[null,"大便池感应冲水阀",null,"个"]
[23,"不锈钢防臭下水器/地漏",null,"个",{"$nulls":4},"国标"]
[24,"排水软管","长度：1m","条",{"$nulls":4},"国标"]
[25,"上水软管/不锈钢给水管",null,"条",{"$nulls":4},"国标"]
[26,"金属P弯下水管",null,"套",{"$nulls":4},"国标"]
[27,"400长不锈钢软管",null,"条",{"$nulls":4},"国标"]
[28,"600长不锈钢软管",null,"条",{"$nulls":4},"国标"]
[29,"800长不锈钢软管",null,"条",{"$nulls":4},"国标"]
[30,"1000长不锈钢软管",null,"条",{"$nulls":4},"国标"]
[31,"PVC排水管","DN75","m",{"$nulls":4},"国标"]
[32,"PVC排水管","DN110","m",{"$nulls":4},"国标"]
[33,"PPR给水管","DN15","m",{"$nulls":4},"国标"]
[34,"PPR给水管","DN20","m",{"$nulls":4},"国标"]
[35,"PE给水管","DN25","m",{"$nulls":4},"国标"]
[36,"PE给水管","DN32","m",{"$nulls":4},"国标"]
[37,"不锈钢管夹",null,"个",{"$nulls":4},"国标"]
[38,"铝码",null,"个",{"$nulls":4},"国标"]
[39,"铁三通",null,"个",{"$nulls":4},"国标"]
[40,"铜管件",null,"个",{"$nulls":4},"国标"]
[41,"角阀",null,"个",{"$nulls":4},"国标"]
[42,"铜 球 ( 水 ) 阀",null,"个",{"$nulls":4},"国标"]
[43,"更换拔手",null,"个",{"$nulls":4},"国标"]
[44,"更换磁芯",null,"个",{"$nulls":4},"国标"]
[45,"更换铜件",null,"个",{"$nulls":4},"国标"]
[46,"洗手盘不锈钢下水器",null,"个",{"$nulls":4},"国标"]
[47,"进水器/阀",null,"套",{"$nulls":4},"国标"]
[48,"下水器/阀",null,"套",{"$nulls":4},"国标"]
[49,"水箱按钮和进水器",null,"套",{"$nulls":4},"国标"]
[50,"气压冲洗枪(高压喷水枪)",null,"支",{"$nulls":4},"国标"]
[50,"医用冲洗枪",null,"支"]
[51,"不锈钢水枪及接头",null,"支",{"$nulls":4},"国标"]
[52,"瓷质地拖盘",null,"套",{"$nulls":4},"国标"]
[53,"热浸镀锌钢管","DN80","m",{"$nulls":4},"国标"]
[54,"热浸镀锌钢管","DN65","m",{"$nulls":4},"国标"]
[55,"管道支架","型钢、油漆","kg",{"$nulls":4},"国标"]
[56,"室内消防栓","DN65","套",{"$nulls":4},"国标"]
[58,"螺纹闸阀","DN80","个",{"$nulls":4},"国标"]
[59,"螺纹闸阀","DN50","个",{"$nulls":4},"国标"]
["三、配电线路类服务(材料含检修、整理线路等人工费）"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"二、三插面板","86型","套",{"$nulls":4},"国标"]
[null,"二位118型10孔面板",null,"套"]
[null,"118型一位开关面板",null,"套"]
[2,"带开关二三插面板","86型","套"]
[3,"地面二三孔组合插座","86型","套"]
[4,"一位开关面板","86型","套"]
[5,"二位开关面板","86型","套"]
[6,"三位开关面板","86型","套"]
[7,"四位开关面板","86型","套"]
[8,"双控开关面板","86型","套"]
[9,"调速器面板",null,"套"]
[10,"16A空调插面板","86型","套"]
[11,"电话、电视插面板","86型","套"]
[12,"面板底盒","86型","个",{"$nulls":4},"国标"]
[13,"防水盒",null,"个",{"$nulls":4},"国标"]
[14,"三插插头",null,"只",{"$nulls":4},"国标（公牛牌）"]
[15,"医用铝合金设备带",null,"m",{"$nulls":4},"国标"]
[16,"敷设电话线(4芯)","4*0.8","m",{"$nulls":4},"国际（秋叶原）"]
[17,"敷设阻燃电线","1.5mm²","m",{"$nulls":4},"国标（珠江牌）"]
[18,"敷设阻燃电线","2.5mm²","m"]
[19,"敷设阻燃电线","4mm²","m"]
[20,"敷设阻燃电线","6mm²","m"]
[25,"电视线","SYWY-75-5","m",{"$nulls":4},"国际（秋叶原）"]
[28,"铜芯多股护套线","2*1.5mm²","m",{"$nulls":4},"国标（珠江牌）"]
[29,"铜线耳","DT4/6/10/16mm","个",{"$nulls":4},"含配件/\n\n辅材/\n\n敷设人工费（国标）"]
[30,"敷设线管和线槽","φ20/10*20mm","m"]
[31,"敷设阻燃线管/线槽","φ25/14*24mm","m"]
[32,"敷设阻燃线管/线槽","φ32/15*30mm","m"]
[33,"敷设阻燃线管/线槽","φ40/39*19mm","m"]
[34,"金属线槽","MR100*50","m"]
[35,"金属线槽","MR80*60","m"]
[36,"金属线槽","MR200*100","m"]
[37,"金属线槽","MR150*75","m"]
[38,"线槽支架","镀锌角钢","Kg"]
[39,"镀锌电线管","JDG20","m"]
[40,"敷设线管和线槽",null,"条"]
[41,"跳闸检修线路复位",null,"项",{"$nulls":4},"跳闸"]
[42,"空气开关","16A/20A 2P","套",{"$nulls":4},"含辅材/\n\n人工费（国标公牛牌）"]
[43,"空气开关","25A/32A 2P","套"]
[44,"空气开关","40A/2P","套"]
[45,"空气开关","50A/2P","套"]
[46,"空气开关","63A/2P","套"]
[47,"空气开关","16A/20A 3P","套"]
[48,"空气开关","25A/32A 3P","套"]
[49,"空气开关","40A/3P","套"]
[50,"空气开关","50A/3P","套"]
[51,"空气开关","63A/3P","套"]
[52,"空气开关","80A/3P","套"]
[53,"空气开关","100A/3P","套"]
[54,"空气开关","125A/3P","套"]
[55,"空气开关","16A/20A 4P","套"]
[56,"空气开关","25A/32A 4P","套"]
[57,"空气开关","40A/4P","套"]
[58,"空气开关","50A/4P","套"]
[59,"空气开关","63A/4P","套"]
[60,"空气开关","80A/4P","套"]
[61,"空气开关","100A/4P","套"]
[62,"空气开关","125A/4P","套"]
[63,"漏电开关","16A/20A 2P","套"]
[64,"漏电开关","25A/32A 2P","套"]
[65,"漏电开关","40A/2P","套"]
[66,"漏电开关","50A/2P","套"]
[67,"漏电开关","63A/2P","套"]
[68,"漏电开关","16A/20A 3P","套"]
[69,"漏电开关","25A/32A 3P","套"]
[70,"漏电开关","40A/3P","套"]
[71,"漏电开关","50A/3P","套"]
[72,"漏电开关","63A/3P","套"]
[73,"漏电开关","16A/20A 4P","套"]
[74,"漏电开关","25A/32A 4P","套"]
[75,"漏电开关","40A/4F","套"]
[76,"漏电开关","50A/4P","套"]
[77,"漏电开关","63A/4P","套"]
[null,"380V漏电断路器","40A",{"$nulls":5},"国标（德力西牌）"]
[null,"380V漏电断路器","50A"]
[null,"380V漏电断路器","63A"]
[null,"380V漏电断路器","80A"]
[null,"380V漏电断路器","100A"]
[null,"380V漏电断路器","125A"]
[null,"380V漏电断路器","200A"]
[null,"380V漏电断路器","225A"]
[null,"380V漏电断路器","250A"]
[null,"380V漏电断路器","315A"]
[null,"380V漏电断路器","350A"]
[null,"380V漏电断路器","400A"]
[null,"380V漏电断路器","500A"]
[null,"380V漏电断路器","630A"]
[79,"室内明装电箱","2-4位","个",{"$nulls":4},"国标、3C认证【需要暗装时，相应单价每个扣减10元（含凿墙及修补）】"]
[80,"室内明装电箱","4-6位","个"]
[81,"室内明装电箱","7-9位","个"]
[82,"室内明装电箱","10-12位","个"]
[83,"室内明装电箱","11-13位","个"]
[null,"220V直流电表","80A","个"]
[null,"220V直流电表","100A","个"]
[null,"380V直流电表","100A","个"]
[null,"380V感应电表","1.5（6）A","个"]
[null,"380V感应电表","5（60）A","个"]
[null,"380V感应电表","10（100）A","个"]
[null,"380V感应电表","20（100）A","个"]
["四、照明类服务"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"光管",null,"支",{"$nulls":4},"含启辉器、国标、3C认证"]
[2,"T5光管",null,"支",{"$nulls":4},"含启辉器、国标、3C认证"]
[null,"T5一体化支架LED灯","0.3米4W","支"]
[3,"电感支架","(含镇流器和启辉器)","套",{"$nulls":4},"国标、3C认证"]
[4,"节能灯",null,"支",{"$nulls":4},"国标、3C认证"]
[5,"节能灯连灯座",null,"套",{"$nulls":4},"国标、3C认证"]
[6,"荧光灯",null,"支",{"$nulls":4},"国标、3C认证"]
[7,"环形光管",null,"支",{"$nulls":4},"国标、3C认证"]
[8,"H型节能光管",null,"支",{"$nulls":4},"国标、3C认证"]
[9,"筒灯",null,"个",{"$nulls":4},"国标、3C认证"]
[10,"灯泡","螺口/卡口","个",{"$nulls":4},"国标、3C认证"]
[11,"LED灯泡","螺口/卡口","个",{"$nulls":4},"国标、3C认证"]
[12,"灯泡连灯座",null,"套",{"$nulls":4},"国标、3C认证"]
[13,"防高温灯头",null,"套",{"$nulls":4},"国标、3C认证"]
[14,"60cmLED光管",null,"套",{"$nulls":4},"国标、3C认证"]
[15,"90cmLED光管",null,"套",{"$nulls":4},"国标、3C认证"]
[16,"120cmLED光管",null,"套",{"$nulls":4},"国标、3C认证"]
[17,"LED光管支架",null,"套",{"$nulls":4},"国标、3C认证"]
[18,"LED筒灯","4寸","套",{"$nulls":4},"国标、3C认证"]
[19,"LED筒灯","5寸","套",{"$nulls":4},"国标、3C认证"]
[20,"LED筒灯","6寸","套",{"$nulls":4},"国标、3C认证"]
[21,"LED平板灯","30*30cm","套",{"$nulls":4},"国标、3C认证"]
[22,"LED天花灯盘","60*60cm","套",{"$nulls":4},"国标、3C认证"]
[23,"LED天花灯盘","120*60cm","套",{"$nulls":4},"国标、3C认证"]
[24,"LED吸顶灯(无感应)",null,"套",{"$nulls":4},"国标、3C认证"]
[25,"LED感应吸顶灯",null,"套",{"$nulls":4},"国标、3C认证"]
[26,"安装灯管的人工费",null,"支",{"$nulls":4},"国标、3C认证"]
[27,"LED吸顶灯模组",null,"套",{"$nulls":4},"国标、3C认证"]
[28,"改灯盘线路",null,"项",{"$nulls":4},"国标、3C认证"]
[29,"加装/更换led灭蚊灯",null,"支",{"$nulls":4},"国标、3C认证"]
[30,"加装/更换光管式灭蚊灯",null,"支",{"$nulls":4},"国标、3C认证"]
[31,"计时器开关",null,"套",{"$nulls":4},"国标、3C认证"]
[32,"紫外线杀菌灯",null,"套",{"$nulls":4},"国标、3C认证"]
[33,"小型吊灯",null,"套",{"$nulls":4},"国标、3C认证"]
[34,"应急照明灯","2*3W","套",{"$nulls":4},"国标、3C认证"]
[35,"单向疏散指示指示灯","3W","套",{"$nulls":4},"国标、3C认证"]
[36,"双向疏散指示指示灯","3W","套",{"$nulls":4},"国标、3C认证"]
[37,"安全出口指示灯","3W","套",{"$nulls":4},"国标、3C认证"]
["五、电器类服务"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"排气扇","6寸","把",{"$nulls":4},"国标、3C认证"]
[2,"排气扇","8寸","把",{"$nulls":4},"国标、3C认证"]
[3,"排气扇","10寸","把",{"$nulls":4},"国标、3C认证"]
[4,"排气扇","12寸","把",{"$nulls":4},"国标、3C认证"]
[5,"天花排气扇","10寸","把",{"$nulls":4},"国标、3C认证"]
[6,"天花管道排气扇","1D1","把",{"$nulls":4},"国标、3C认证"]
[7,"工业排气扇","10寸","把",{"$nulls":4},"国标、3C认证"]
[8,"工业排气扇","12寸","把",{"$nulls":4},"国标、3C认证"]
[9,"工业排气扇","14寸","把",{"$nulls":4},"国标、3C认证"]
[10,"工业排气扇","16寸","把",{"$nulls":4},"国标、3C认证"]
[11,"更换排气扇叶","6/8/10寸","项",{"$nulls":4},"国标、3C认证"]
[12,"壁扇",null,"把",{"$nulls":4},"含安装壁扇人工、国标、3C认证"]
[13,"安装壁扇人工",null,"项",{"$nulls":4},"科室提供壁扇"]
[14,"更换壁扇摇头开关",null,"个",{"$nulls":4},"国标、3C认证"]
[15,"吊 扇",null,"把",{"$nulls":4},"国标、3C认证"]
[16,"更换电扇马达",null,"项",{"$nulls":4},"国标、3C认证"]
[17,"更换圆筒抽气扇电机",null,"项",{"$nulls":4},"国标、3C认证"]
[18,"拆电视和支架(人工)",null,"台"]
[19,"2000W发热管(含检修)",null,"套",{"$nulls":4},"国标、3C认证"]
[20,"9000W发热管(含检修)",null,"套",{"$nulls":4},"国标、3C认证"]
[21,"热水专用水龙头",null,"套",{"$nulls":4},"国标、3C认证"]
[22,"维修更换开水器浮球",null,"套",{"$nulls":4},"国标、3C认证"]
[23,"更换开水器交流接触器",null,"项",{"$nulls":4},"国标、3C认证"]
[24,"开水器清水垢",null,"项",{"$nulls":4},"国标、3C认证"]
[25,"更换饮水机水龙头",null,"项",{"$nulls":4},"国标、3C认证"]
[26,"维修加固排气扇人工",null,"项",{"$nulls":4},"国标、3C认证"]
["六、拆除类服务"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"砖砌体拆除",null,"m3",{"$nulls":4},"含搬运至医院指定地点堆放"]
[2,"玻璃隔墙拆除",null,"m2"]
[3,"木隔墙拆除",null,"m2"]
[4,"地面块料拆除",null,"m2"]
[5,"立面抹灰批荡层拆除",null,"m2"]
[6,"立面扇灰油漆层拆除",null,"m2"]
[7,"拆除旧彩钢板",null,"m2"]
[8,"拆除阳光板",null,"m2"]
[9,"瓷砖地脚线拆除",null,"m2"]
[10,"PVC地胶地面拆除",null,"m2",{"$nulls":4},"含搬运至医院指定地点堆放"]
[11,"PVC饰面墙裙拆除",null,"m2"]
[12,"墙身瓷砖拆除",null,"m2"]
[13,"墙身石材拆除",null,"m2"]
[14,"天棚面龙骨及饰面拆除",null,"m2"]
[15,"木扶手拆除",null,"m"]
[16,"不锈钢扶手拆除",null,"m"]
[17,"拆凿洗手间沉池，地面",null,"m2"]
[18,"木门窗拆除",null,"樘"]
[19,"金属门窗拆除",null,"樘"]
[20,"柜体、柜台拆除",null,"m2"]
[21,"石材洗手台柜拆除",null,"m2"]
[22,"拆除洗手盆",null,"套"]
[23,"拆除大便器",null,"套"]
[24,"拆除大便器水箱",null,"套"]
[25,"拆除淋浴器",null,"套"]
[26,"拆除广告牌",null,"m2"]
[27,"砍伐乔木","(胸径cm) 10以内","株"]
[28,"砍伐乔木","(胸径cm) 30以内","株"]
[29,"乔木修枝","胸径(Φcm) 10以内","株"]
[30,"灌木修剪","高度(cm) 100以内","株"]
[31,"挖树根","(地径cm) 20以内","株"]
[32,"拆螺纹钢",null,"m"]
[33,"拆锌角铁",null,"m"]
[34,"拆镀锌方管",null,"m"]
[35,"拆镀锌圆管",null,"m"]
[36,"拆围挡织物、布类、人造草皮",null,"m"]
[37,"拆围挡铁板类",null,"m"]
[38,"拆围挡木板类",null,"m"]
[39,"拆玻璃雨棚",null,"m2"]
[40,"拆玻璃",null,"m2"]
["七、修缮类服务"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"墙体开洞孔",null,"m2",{"$nulls":4},"包含机械、修砌洞边"]
[2,"地面/楼面开圆孔","Φ108内","个"]
[3,"地面/楼面开圆孔","Φ108外","个"]
[4,"开过墙圆孔","Φ108内","个"]
[5,"开过墙圆孔","Φ108外","个"]
[6,"木台面钻孔","综合","个"]
[7,"石台面钻孔","综合","个"]
[8,"砌砖内外墙","120mm厚","m2",{"$nulls":4},"包含批荡及脚手架"]
[9,"砌砖内外墙","180mm厚","m2"]
[10,"砌砖内外墙","240mm厚","m2"]
[11,"新建混凝土基础","C25","m3",{"$nulls":4},"包含钢筋、模板及脚手架"]
[12,"新建混凝土梁","C25","m3"]
[13,"新建混凝土柱","C25","m3"]
[14,"现浇构件钢筋","三级螺纹钢筋 φ10以内","m",{"$nulls":4},"单独更换、国标"]
[15,"现浇构件钢筋","三级螺纹钢筋 φ12-14","m"]
[16,"现浇构件钢筋","三级螺纹钢筋 φ16-25","m"]
[17,"铝合金玻璃隔断","钢化玻璃 10mm","m2",{"$nulls":4},"国标"]
[18,"玻镁彩钢板夹芯板隔墙","50mm厚","m2",{"$nulls":4},"国标"]
[19,"中空彩钢板夹芯板隔墙","50mm厚","m2",{"$nulls":4},"国标"]
[20,"岩棉彩钢板夹芯板隔墙","50mm厚","m2",{"$nulls":4},"国标"]
[21,"硅酸钙板隔墙","8mm单面","m²",{"$nulls":4},"含轻质龙骨"]
[22,"硅酸钙板隔墙","8mm双面","m²"]
[23,"内填隔音岩棉","50mm厚","m²"]
[24,"抗倍特板卫生间隔板","12厘","m²",{"$nulls":4},"国标"]
[25,"墙面钉挂钢丝网","φ0.9-φ1.2","m²",{"$nulls":4},"间距1cm*1cm-1.2cm*1.2cm"]
[26,"地面加设钢丝网","φ0.9-φ1.2","m²",{"$nulls":4},"间距1cm*1cm"]
[27,"单独批荡","20mm厚","m²"]
[28,"砌砖封门窗洞","（含批荡）","m²"]
[29,"屋面聚氨酯防水","2mm厚","m²",{"$nulls":4},"（含水泥砂浆层）"]
[30,"地面墙面聚氨酯防水","2mm厚","m²",{"$nulls":4},"（含水泥砂浆层）"]
[31,"水泥地面加高","200mm","m²"]
[32,"新装铝塑板天花","3mm","m²",{"$nulls":4},"（含轻钢龙骨、国标）"]
[33,"新装铝塑板天花","4mm","m²"]
[34,"新装铝扣板天花","600×600","m²"]
[35,"新装铝扣板天花","300×300","m²"]
[36,"硅酸钙板平面天花","8mm","m²"]
[37,"木纹铝格栅吊顶天花",null,"m²"]
[38,"岩棉彩钢板夹芯板天花","50mm厚","m²"]
[39,"中空彩钢板夹芯板天花","50mm厚","m²"]
[40,"玻镁彩钢板夹芯板天花","50mm厚","m²"]
[41,"上人检修口","500*500","个",{"$nulls":4},"单独更换"]
[42,"上人检修口","600*600","个"]
[43,"铝扣板天花","300*300","块"]
[44,"铝扣板天花","600*600","块"]
[45,"矿棉板天花","600*600","块"]
[46,"前台、柜体更换铝塑板","3mm厚以内","m²",{"$nulls":4},"不含龙骨及基层板"]
[47,"前台、柜体更换铝塑板","3mm厚以外","m²"]
[48,"铝塑板墙面","3mm厚以内","m²",{"$nulls":4},"含龙骨基层板、国标"]
[49,"铝塑板墙面","3mm厚以外","m²"]
[50,"竹纤维生态板墙面",null,"m²"]
[51,"免漆木饰面板墙面","9mm厚","m²"]
[52,"医疗洁净板墙面","9mm厚","m²"]
[53,"PVC地胶踢脚线","2mm厚","m²",{"$nulls":4},"国标"]
[54,"木质踢脚线",null,"m²",{"$nulls":4},"国标"]
[55,"不锈钢踢脚线","1.0mm","m²",{"$nulls":4},"国标"]
[56,"铝合金地脚线",null,"m²",{"$nulls":4},"国标"]
[57,"瓷砖踢脚线",null,"m²",{"$nulls":4},"国标"]
[58,"大理石洗手台","（20mm厚）","m²",{"$nulls":4},"含钢骨架"]
[59,"人造石洗手台","（20mm厚）","m²"]
[60,"石材窗台板","（20mm厚）","m²",{"$nulls":4},"含水泥砂浆层"]
[61,"人造石门槛","（20mm厚）","m²"]
[62,"医用PVC胶地板","2mm厚","m²",{"$nulls":4},"国标"]
[63,"水泥自流坪楼地面",null,"m²",{"$nulls":4},"国标"]
[64,"环氧漆自流坪楼地面",null,"m²",{"$nulls":4},"国标"]
[65,"不锈钢门腰线","1.2mm厚","m",{"$nulls":4},"国标"]
[66,"不锈钢挡鼠板","1.2mm厚、四边不锈钢包边带警示贴","m²",{"$nulls":4},"国标"]
[67,"成品镜子","6mm","m²",{"$nulls":4},"国标"]
[68,"无障碍卫生间扶手",null,"m",{"$nulls":4},"国标"]
[69,"医用防撞扶手","（PVC面板2.0mm厚、内结构铝合金1.5mm）","m",{"$nulls":4},"国标"]
[70,"医用防撞护角线","（PVC面板5cm宽、2.0mm厚、内结构铝合金1mm）","m",{"$nulls":4},"国标"]
[71,"PVC护角","（1200mm高）","m",{"$nulls":4},"国标"]
[72,"不锈钢护角线",null,"m",{"$nulls":4},"国标"]
[73,"岩棉彩钢板雨棚",null,"m²",{"$nulls":4},"国标"]
[74,"不锈钢雨棚",null,"m²",{"$nulls":4},"国标"]
[75,"钢化玻璃雨棚",null,"m²",{"$nulls":4},"国标"]
[76,"阳光板雨棚",null,"m²",{"$nulls":4},"国标"]
[77,"PVC雨棚",null,"m²",{"$nulls":4},"国标"]
[78,"PVC水槽",null,"m",{"$nulls":4},"国标"]
[79,"贴墙纸",null,"m²",{"$nulls":4},"国标"]
[80,"贴玻璃纸",null,"m²",{"$nulls":4},"国标"]
[81,"不锈钢挂衣架",null,"钩",{"$nulls":4},"国标"]
[82,"不锈钢排队杆","1.5m伸缩带","套",{"$nulls":4},"国标"]
[83,"不锈钢排队杆","3m伸缩带","套",{"$nulls":4},"国标"]
[84,"钢挂衣拉爆钩","8mm","支",{"$nulls":4},"包含辅材/机械开孔"]
[85,"不锈钢挂衣锁链",304,"m",{"$nulls":4},"国标"]
[86,"球墨铸铁井盖","DN600带防盗","套",{"$nulls":4},"国标"]
[87,"球墨铸铁井盖","DN800带防盗","套",{"$nulls":4},"国标"]
[88,"地面画黄线",null,"m",{"$nulls":4},"国标"]
[89,"车道减速带",null,"m",{"$nulls":4},"含减速带半圆头"]
[90,"钢材油漆翻新",null,"m²",{"$nulls":4},"刷底油 调和漆2遍/国标"]
[91,"木材油漆翻新",null,"m²"]
[92,"门油漆翻新",null,"m²"]
[93,"地坪漆",null,"m²",{"$nulls":4},"国标"]
[94,"墙面防辐射层","防辐射涂料1.0mm","m²",{"$nulls":4},"国标"]
[95,"墙面防辐射层","防辐射涂料2.0mm","m²",{"$nulls":4},"国标"]
[96,"墙面防辐射层","防辐射涂料3.0mm","m²",{"$nulls":4},"国标"]
[97,"涂刷乳胶漆","抗甲醛防霉环保净味","m²",{"$nulls":4},"底1遍，面2遍/国标(含活动脚手架)"]
[98,"扇灰","腻子灰","m²",{"$nulls":4},"刮2遍/国标(含活动脚手架)"]
[99,"抛光砖地面","600x600","m2",{"$nulls":4},"含水泥沙找平层/国标"]
[100,"抛光砖地面","800x800","m2"]
[101,"防滑砖地面","300x300","m2"]
[102,"防滑砖地面","600x600","m2"]
[103,"釉面内墙砖","300x300","m2"]
[104,"釉面内墙砖","300x600","m2"]
[105,"陶瓷马赛克墙面","305×305","m2"]
[106,"瓷片墙面","300x300","m2"]
[107,"外墙纸皮面砖","45x45","m2"]
[108,"外墙纸皮面砖","45x95","m2"]
[109,"耐磨砖地面","300x300","m2"]
[110,"耐磨砖地面","600x600","m2"]
[111,"花岗岩地面","中国红600x600","m2"]
[112,"花岗岩地面","黑金沙600x600","m2"]
[113,"广场砖","100x100","m2"]
[114,"镀锌角铁","常用尺寸","m",{"$nulls":4},"单独更换/国标"]
[115,"镀锌方管",null,"m"]
[116,"镀锌圆管",null,"m"]
[117,"围挡织物、布类、人造草皮",null,"m",{"$nulls":4},"含围挡安装配件，不含基础"]
[118,"围挡铁板类",null,"m"]
[119,"围挡木板类",null,"m"]
[120,"瓦屋面",null,"m2"]
[121,"修复地面/墙面洞孔",null,"个",{"$nulls":4},"水泥砂浆修复"]
[122,"墙裙加固维修",null,"项"]
[123,"窗加固维修",null,"项"]
[124,"门加固维修",null,"项"]
[125,"门框加固维修",null,"项",{"$nulls":4},"含拆门、装门"]
[126,"柜子柜脚损坏维修",null,"项"]
[127,"石材维修",null,"项"]
[128,"查老鼠/通排屎管",null,"工时"]
[129,"拆装窗帘人工费",null,"张"]
[130,"贴牌、挂画、装层板等人工",null,"项"]
[131,"纱窗修复",null,"个"]
[132,"安装纸巾盒的人工",null,"个",{"$nulls":4},"科室提供纸巾盒"]
[133,"疏通厕所",null,"项",{"$nulls":4},"包含机械通"]
[134,"疏通下水管",null,"项"]
[135,"清理水渠",null,"项"]
[136,"烧焊",null,"项",{"$nulls":4},"含维修、检修等人工费"]
[137,"窗台加设挡水条（不锈钢方管）",null,"m"]
[null,"电脑凳底座"]
[null,"电脑凳升降油压杆"]
[null,"铁凳维修"]
[138,"维修冲水箱、下水器等",null,"项",{"$nulls":4},"无耗材材\n料的项目\n人工费"]
[139,"维修柜门、抽屉、木凳等",null,"项"]
[140,"维修加固各种门等",null,"项"]
[141,"维修加固天花",null,"块",{"$nulls":3},"一年"]
[142,"维修加固自动门",null,"项"]
[143,"单排钢脚手架","高度(10m以内)","m2"]
[144,"综合钢脚手架","高度(4.5m以内)","m2"]
[145,"综合钢脚手架","高度(12.5m以内)","m2"]
["八、门窗类服务"]
["序号","工 程 名 称","型号/规格","单位",null,null,"审核单价（元）","质保期","备注"]
[1,"铝合金平开门",null,"m2",{"$nulls":4},"国标"]
[2,"塑钢平开门","壁厚2.2mm 玻璃5mm","m2",{"$nulls":4},"国标"]
[3,"钢化玻璃平开窗","壁厚1.4mm 玻璃5mm","m2",{"$nulls":4},"国标"]
[4,"钢化玻璃推拉窗","壁厚1.4mm 玻璃5mm","m2",{"$nulls":4},"国标"]
[5,"磨砂玻璃推拉窗","壁厚1.4mm 玻璃5mm","m2",{"$nulls":4},"国标"]
[6,"钢化玻璃固定窗","壁厚1.4mm 玻璃5mm","m2",{"$nulls":4},"国标"]
[7,"防蚊纱窗（铝合金）",null,"m2",{"$nulls":4},"国标"]
[8,"防蚊纱窗（不锈钢）",null,"m2",{"$nulls":4},"国标"]
[9,"医用病房子母门","带6mm透明玻璃观察窗、不锈钢横挡及包边、配备定向器","m2",{"$nulls":4},"国标"]
[10,"医用病房单开门",null,"m2",{"$nulls":4},"国标"]
[11,"彩板板平板门",null,"m2",{"$nulls":4},"国标"]
[12,"钢质防火门",null,"m2",{"$nulls":4},"国标"]
[null,"塑钢门窗轮子"]
[null,"铝门窗轮子"]
[13,"木纹钢质单扇门","（带6mm透明玻璃观察窗、配备定向器、含门套）","m2",{"$nulls":4},"国标"]
[14,"不锈钢玻璃双开门","含门套","m2",{"$nulls":4},"国标"]
[15,"不锈钢防盗门","含门套","m2",{"$nulls":4},"国标"]
[16,"不锈钢防盗网",null,"m2",{"$nulls":4},"国标"]
[17,"木窗帘盒","胶合板 单轨","m",{"$nulls":4},"国标"]
[18,"不锈钢卷闸门",null,"m2",{"$nulls":4},"国标"]
[19,"卷闸门电机","600kg","个",{"$nulls":4},"国标"]
[20,"磨砂玻璃","5厘","m2",{"$nulls":4},"单独更换/国标"]
[21,"磨砂玻璃","8厘","m2"]
[22,"防火玻璃","16厘","m2"]
[23,"防火玻璃","20厘","m2"]
[24,"透明玻璃","5厘","m2"]
[25,"夹层玻璃","6+0.76+6","m2"]
[26,"钢化玻璃","8厘","m2"]
[27,"钢化玻璃","10厘","m2"]
[28,"钢化玻璃","12厘","m2"]
["九、机械台班及人工类服务"]
["序号","工 程 名 称","型号/规格","单位",{"$nulls":4},"备注"]
[1,"签证工日(综合工种)",null,"工日/一天",{"$nulls":4},"按8小时一天一人计算"]
[2,"签证工日(综合工种)",null,"工日/半天"]
[3,"白天时段、搬运等",null,"工时",{"$nulls":4},"1人1小时"]
[4,"晚上加班、搬运等",null,"工时",{"$nulls":4},"1人1小时"]
[5,"配备1.5吨运输货车",null,"元/公里",{"$nulls":4},"油费"]
[6,"清理垃圾外请车辆费","(4m³以内)","车",{"$nulls":4},"已含油费"]
[7,"清理垃圾外请车辆费","(4-8m³)","车"]
[8,"清理垃圾外请车辆费","(8-12m³)","车"]
[9,"清理垃圾外请车辆费","(12-20m³)","车"]
[10,"清理垃圾外请车辆费","(20-25m³)","车"]
[11,"PC60钩机",null,"台班",{"$nulls":4},"台班按8小时计算"]
[12,"PC120钩机",null,"台班"]
[13,"PC200钩机",null,"台班"]
[14,"PC360钩机",null,"台班"]
[15,"铲车DN20(轮胎)",null,"台班"]
[16,"铲车DN30(轮胎)",null,"台班"]
[17,"3D铲车(履带式推土机)",null,"台班"]
[18,"推土机D5",null,"台班"]
[19,"推土机D6",null,"台班"]
[20,"3T自吊车(含平板车)",null,"台班"]
[21,"25T吊车",null,"台班"]
[22,"50T吊车",null,"台班"]
[]
["1、以上项目单价已经包含人工费、材料费、材料上下楼搬运、拆装、维修、辅助材料工具费、措施费及清理现场服务费。（个别项目特殊说明在备注中标注）                                                                                 "]